## Samples
DewarName* | PuckName* | PuckType* | PuckLocationInDewar* | CrystalName* | PositionInPuck* | Priority | Comments | PinBarcode | Directory
Dewar-1 | 889911 | Unipuck | 1 | lyso_1 | 1 | 1 | small crystals |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_2 | 2 | 1 | long needles |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_3 | 3 | 1 | backup-1 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_4 | 4 | 2 | backup-2 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_5 | 5 | 2 | backup-3 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_6 | 6 | 2 | backup-4 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | lyso_7 | 7 | 2 | backup-5 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Thau 2 | 8 | 3 | porcupine |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Thau 3 | 9 | 3 | backup-1 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Thau 4 | 10 | 3 | backup-2 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Thau 5 | 11 | 88 | backup-3 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Thau 6 | 12 | 88 | backup-4 |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Insu_1 | 13 | 999 | test crystal |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Insu_2 | 14 | 999 | test crystal |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Insu_3 | 15 | 999 | test crystal |  | {date}/{prefix}
Dewar-1 | 889911 | Unipuck | 1 | Insu_4 | 16 | 999 | test crystal |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 3234567 | 8 | 3 | aaa- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 2344766 | 9 | 4 | aaa- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 3457698 | 10 | 4 | bbb- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 8775643 | 11 | 4 | bbb- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 4573478 | 12 | 5 | ccc- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 4568734 | 13 | 5 | ccc- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | KinA-1 | 1 | 1 | ccc- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | KinA-2 | 2 | 1 | bbb- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | KinA-3 | 3 | 1 | bbb- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | KinA-4 | 4 | 2 | aaa- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 2302765 | 5 | 2 | ccc- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 4785622 | 6 | 2 | vvv- we can sort on comments too |  | {date}/{prefix}
Dewar-2 | PSIMX-042 | Unipuck | 2 | 4564889 | 7 | 3 | zzz- we can sort on comments too |  | {date}/{prefix}
Columns in blue background are mandatory, i.e. they must contain valid text in them.
Columns in yellow background are optional but highly recommended.
Instructions
==============
Mandatory Columns
------------------
DewarName: This name is displayed in the GUI and helps the operator to
identify onto which shipping dewar each puck belongs to.
PuckName: This name should correspond to the datamatrix engraved in
the puck which will be scanned during loading/unloading
operations. Only letters [a-z] and digits [0-9] are
considered when matching the PuckName with the resulting
scanned datamatrix. The following strings would match a
datamatrix scanned as "PSIMX-100":
- "PSIMX100"
- "psimx:100"
- "PSI:MX-100"
- "PSIMX 100"
The PuckName is made available in the sgPuck macro (see section
On the use of Macros below).
CrystalName: by default the text in this column will be transferred to
the Prefix field in the DA+GUI. The text is also made
available as the macro sgPrefix in the DA+GUI.
Valid characters: a-z 0-9 minus period plus underscore
PositionInPuck: An integer number indicating the position within the
puck. For unipucks this number must be within 1-16. Available
in the sgPosition macro.
Optional but Highly Recommended
---------------------------------
Optional means that the content of the cells may be omitted but the
column itself must be present.
Priority: This should be an integer number. The operator will see this
number in the TELL-GUI. This number may be used to sort the
samples within the TELL-GUI. This number is made available
as the macro "sgPriority".
Comments: This text is available to the operator. This text may be
used to sort the samples within the TELL-GUI.
Directory: by default the text in this column will be transferred to
the Folder field in the DA+GUI. The text is also made
available as the macro "sgFolder" in the DA+GUI.
Macros may be used in this field to compose folder
locations using other macros corresponding to fields from
the spreadsheet or dynamic macros corresponding to
parameters from the DA+GUI.
ON THE USE OF MACROS
====================
Spreadsheet Macros
------------------
sgPrefix: text in the column CrystalName
sgFolder: text in the column Directory
sgPuck: text in the column PuckName
sgPriority: text in the column Priority
sgPosition: text in the column PositionInPuck
Dynamic Macros
--------------
date: the current date as YYYYMMDD; the date will not change after
midnight unless the DA+GUI is restarted
run: the run number
beamline: the official beamline name: X06SA, X10SA, or X06DA
prefix: the contents of the GUI field "Prefix"; may differ from the
macro sgPrefix
dtz: the detector to sample distance rounded to the mm.
dty: the detector height offset rounded to the mm.
ev: the beam energy in electron volts, rounded.
method: either the string "screen" or "dataset"
depending on the experiment
phi: the phi angle, rounded.
chi: the chi angle, rounded.